## Cost parameters
Cost parameters
|  |  |  | Pessimistic | Base | Optimistic
|  |  |  | P | B | O | Comment
Cs | Structure | Cost of main structure. | £k | 7200 | 6720 | 6240
Cm | Foundations/moorings | Cost of all foundations, anchors or moorings. | £k | 2400 | 2240 | 2080
Ci | Control/instrument | Control and monitoring instruments. | £k | 1200 | 1120 | 1040
Cpto | Power Take-off | Power Take-Off costs including all mechanical and electrical components. | £k | 2400 | 2240 | 2080
Cgc | Grid connection | Grid connection. | £k | 1200 | 1120 | 1040
Cisv | Installation surveys | Surveys. | £k | 600 | 560 | 520
Cis | Installation of structure | Installation of the structure (including hire of vessels). | £k | 6000 | 5600 | 5200
Cim | Installation of mooring | Installation of the mooring (including hire of vessels). | £k | 3000 | 2800 | 2600
Cig | Installation of grid connection | Installation of the grid connection from farm to shore and onshore work (including hire of vessels). | £k | 1500 | 1400 | 1300
Ccc | Commissioning | Commissioning of farm. | £k | 1500 | 1400 | 1300
Co | Management and other | Management, insurance and other costs. | £k | 3000 | 2800 | 2600
Ctotal | Capital cost: Total installed |  | £k | 30000 | 28000 | 26000
Opm | Planned maintenance | Planned maintenance and inspection. | £k/annum | 3000 | 2700 | 2400
Omc | Monitoring/Control | Monitoring/Control of energy production and condition monitoring. | £k/annum | 750 | 675 | 600
Our | Unscheduled repair | Unscheduled repair. | £k/annum | 750 | 675 | 600
Or | Rent | Rent, both land and sea. | £k/annum | 250 | 225 | 200
Oins | Insurance | Insurance. | £k/annum | 250 | 225 | 200
Ototal | Operating costs: total annual |  | £k/annum | 5000 | 4500 | 4000
Dtotal | Total decommissioning costs | Incurred after project life has ended. | £k | 5000 | 4500 | 4000

## Technical parameters
Technical parameters
|  |  |  | Pessimistic | Base | Optimistic
|  |  |  | P | B | O | Comment
P^Dev | Peak power for each device | Rated or peak power of the device conversion system, also the gross power before conversion losses, could be the rating of the generator. | kW | 2000 | 2000 | 2000
P^Farm | Peak power for the farm | Rated or peak power of the farm conversion system, also the gross power before conversion losses. Could be the product of the number of devices in the farm and the peak power for each device. | kW | 20000 | 20000 | 20000
P_Dev | Mean power device | Annual mean power of the device before conversion losses. | kW | 400 | 600 | 700
P_Farm | Mean power farm | Annual mean power of the farm before conversion losses. | kW | 7000 | 6000 | 5000
Pi | Capacity installed for these cost levels | Assumed cumulative capacity installed by the time these costs are reached. | kW | 100000000 | 100000000 | 100000000
Ni | Number of devices installed | Assumed cumulative number of devices installed by the time these costs are reached. | Devices | 50000 | 50000 | 50000
Nf | Number of farms installed | Assumed cumulative number of farms installed by the time these costs are reached. | Farms | 2500 | 2500 | 2500
ND | Number of devices in farm | Number of individual devices in farm, I.e. the scaleable part of the farm. | Devices | 10 | 10 | 10
Ds | Distance to shore | Distance to shore assumed, I.e. length of electrical connection. | km | 50 | 40 | 20
Dm | Distance to routine repair base | Distance to dock where routine repairs undertaken or where service vessels are located. | km | 100 | 50 | 25
E | Annual farm energy capture | Net annual energy delivered to point of connection to the electricity grid including all losses and downtime. | kWh/y | 39087120 | 45916416 | 52428600
L | Design life | The design life of the majority of the device. (Some subcomponents might have shorter lives, we are not interested initially in these). | years | 25 | 25 | 25
XL | Transmission efficiency | Efficiency of the farm to grid transmission system. |  | 95% | 96% | 97%
Av | Device availability | Time when device is available to generate whether wave climate is suitable or not, I.e. time when not being serviced, or broken. | % | 90% | 91% | 92%

## Cost of energy
Cost of energy
|  | Pessimistic | Base | Optimistic
| Life | 25 | 25 | 25 | years
| Capital cost | 30000 | 28000 | 26000 | k
| Operating cost | 5000 | 4500 | 4000 | k'/year
| Decommissioning cost | 5000 | 4500 | 4000 | k
| Annual energy production | 39087120 | 45916416 | 52428600 | kWh/y
Indicative cost of energy
Discount rate | 8% | #VALUE! | #VALUE! | #VALUE! | p/kWh
Discount rate | 15% | #VALUE! | #VALUE! | #VALUE! | p/kWh
Capacity factor excluding transmission losses
| Device | 20% | 30% | 35%
| Farm | 35% | 30% | 25%
Capacity factor including transmission losses
| Farm | 22.31% | 26.21% | 29.93%
The indicative cost of energy quoted here is based on a simplified discounted cash flow analysis. A more rigorous estimate could be made by considering all income and expenditure at all stages of the project life.
The pessimistic and optimistic values are a straightforward combination of all the pessimistic and optimistic totals respectively. This is a simplistic approach for illustration only. A more rigorous approach might produce a lower overall uncertainty (range of costs) than indicated here.

## chtSummary plotting (hidden)
THIS SHEET SHOULD BE HIDDEN
Discount rate | coe 1 | coe 2 | coe 3 | Max | Mid | Min | Dummy scale | Rainbow axis | Low area | Mid area | High area
0% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 100 | 0 | 0 | 0 | 0
1% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 107 | 0 | 0 | 0 | 0
2% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 107 | 0 | 0 | 0 | 0
3% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 107 | 0 | 0 | 0 | 0
4% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 107 | 0 | 0 | 0 | 0
5% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 107 | 0 | 0 | 0 | 0
6% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 107 | 0 | 0 | 0 | 0
7% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 108 | 0 | 0 | 0 | 0
8% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 108 | 0 | #VALUE! | #VALUE! | #VALUE!
9% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 109 | 0 | #VALUE! | #VALUE! | #VALUE!
10% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 110 | 0 | #VALUE! | #VALUE! | #VALUE!
11% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 111 | 0 | #VALUE! | #VALUE! | #VALUE!
12% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 112 | 0 | #VALUE! | #VALUE! | #VALUE!
13% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 113 | 0 | #VALUE! | #VALUE! | #VALUE!
14% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 114 | 0 | #VALUE! | #VALUE! | #VALUE!
15% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 115 | 0 | #VALUE! | #VALUE! | #VALUE!
16% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 115 | 0 | 0 | 0 | 0
17% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 118 | 0 | 0 | 0 | 0
18% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 119 | 0 | 0 | 0 | 0
19% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 120 | 0 | 0 | 0 | 0
20% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 121 | 0 | 0 | 0 | 0
21% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 121 | 0 | 0 | 0 | 0
22% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 121 | 0 | 0 | 0 | 0
23% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 121 | 0 | 0 | 0 | 0
24% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 121 | 0 | 0 | 0 | 0
25% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 121 | 0 | 0 | 0 | 0
26% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 121 | 0 | 0 | 0 | 0
27% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 121 | 0 | 0 | 0 | 0
28% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 121 | 0 | 0 | 0 | 0
29% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 121 | 0 | 0 | 0 | 0
30% | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 130 | 0 | 0 | 0 | 0